	· apparent field: perceived span of sky seen through eyepiece (without telescope). Not used in true field (see) calculation. 

· exit pupil: image of objective formed by eyepiece. Location where full apparent field is seen. 

· f/#: a ratio that describes the relation between the aperture and focal length of the telescope -- important for photography 

· field stop: ring inside the eyepiece barrel that limits true and apparent field size 

· focal length: effective distance from entrance of an optical system to focal point 

· magnification: relative change in angular size of object 

· true field: span of sky seen through telescope/eyepiece combination 
	


