Adjustments

There are three main areas of adjustment on each axis. They should be performed in the order listed

below on both the Dec and RA axes:

· Ring Nut

· Worm Shaft End Play

· Worm Gear Mesh

Ring Nut


[image: image1.emf]
Screw the ring nut onto the bottom of the shaft. Don't forget the plastic washer that goes

between the ring nut and the shaft. Tighten the ring nut, using your spanner tool if

necessary, until the shaft turns freely, but does not wobble or feel loose. Then, tighten the

small set screws in the ring nut to hold it in place.

When adjusting the ring nut, bear in mind that the assembly will loosen up a bit after a

period of use. If it is too loose now, it will only become looser later. There is a very fine line

between too loose and too tight. You will find yourself making very small changes in the

tightness of the ring nut to achieve the best compromise.

Worm Shaft End Play


[image: image2.emf]
If either of the worm shafts is able to slide back and forth in its bracket (end play), you'll

have excessive slop in the mount. To adjust the end play of either worm, start by removing

the large silver nut on one end of the worm bracket. This reveals a threaded insert (or

sleeve) through which the worm shaft passes. This insert can be turned to adjust the

amount of end play in the worm. Too loose, and the axis will be very sloppy. Too tight, and

the axis will be stiff. It may take several tries to find the happy medium.

On both of my CG-5s, there were several very small, very thin plastic washers in the worm

assemblies. These washers are nearly invisible when buried in the thick factory grease, so

it's easy to miss them. Look carefully!

Another description of this adjustment comes from fellow CG-5 owner Jim McKay. Note

that the worm assemblies on Jim's CG-5 contained no plastic washers! This is indicative

of the variation you can expect between different examples of the CG-5.

I went ahead and removed the nut [on one end of the worm housing]. The

nut holds a threaded sleeve in place. One end of the sleeve bears directly

on the worm while the other end of the worm bears directly on the worm

housing. There are no plastic washers on either end of the worm as there

are inside the mount. The threaded sleeve can be threaded in and out of

the housing thereby increasing and decreasing the amount of endplay in

the worm. You then lock it in place with the hex nut. It would appear that

you need a small amount of play otherwise the worm becomes very difficult

to turn. I was able to take most of the play out and retighten the nut again.

The nut is 16mm and is on fairly tight (I used a 1/4" drive metric socket

set). I first took the worm housing off the mount and put it in a vise (with

something to cushion the metal jaws of the vise), but I later found out that it

can be loosened while the housing is still attached to the mount. Adjusting

the sleeve made a BIG difference in the slop that I was experiencing in the

RA axis. The DEC axis was fine and I didn't touch it. My guess is that

without any washers between the worm and the housing, wear at the ends

of the worm will necessitate adjustment at a later date.

Although I did not have any endplay in the worms of the first CG-5 I refurbished, my

second CG-5 required this adjustment. Unlike Jim's mount, mine had plastic washers in

both worm assemblies. I was able to remove the endplay almost entirely while maintaining

very free movement of the worm.

Worm Gear Mesh


[image: image3.emf]
This is the most tedious, but arguably the most important adjustment of all. Here, we are

adjusting how deeply the worm meshes with the teeth of the large silver worm gear.

The small set screw between the two larger silver hex head screws on the worm assembly

controls how deeply the worm meshes with the teeth of the worm gear inside the mount. If

the gears mesh too tightly, the worm shaft will be stiff and difficult to turn. If the two gears

do not mesh enough, the axis will have backlash and "slop."

Turning the set screw clockwise pushes the worm farther from the worm gear, loosening

the axis. Turning the set screw counter-clockwise lets the gears mesh more deeply,

tightening the axis and reducing backlash. Proper adjustment consists of making small

changes in the depth of the set screw until you achieve a good compromise between ease

of motion and lack of backlash. Note that this sounds counter-intuitive (turning the screw

clockwise to loosen up the axis), but it is correct.

Start by applying some grease to the worm and re-attach the worm assembly to the

housing. Replace and tighten the four silver hex head screws, starting with the two on

either side of the set screw. Try to tighten these two screws equally. Then tighten the

other two hex head screws holding the worm assembly. Now grasp the upper end of the

housing and turn the shaft.

If it is too tight and does not move freely, loosen the four silver hex head screws and turn

the set screw a fraction of a turn clockwise to loosen up the axis. Re-tighten the four hex

head screws and check the axis again.

If it is too loose and wobbly, loosen the four silver hex head screws and turn the set

screw a fraction of a turn counter-clockwise to tighten up the axis. Re-tighten the four

hex head screws and check the axis again.

As little as a tenth of a turn of the set screw can make a noticeable difference in the

tightness of the gears. In addition, tightening the four hex head screws presses the gears

together and causes them to mesh a little tighter. So you must use some trial and error to

get it right. You want the worm tight enough against the worm gear so that the axis doesn't

wobble, yet not so tight that the worm shaft is hard to turn.

Fellow CG-5 owner Bob Supler suggests lubricating some of the screws in the worm

assembly:

As for the worm bracket screws, I lubricated all three on each axis – the

center hex, as well as the two on either side. I also learned to put a dot of

grease on the tip of the center hex because that grinds directly against the

mount.

I didn't do this, but based on discussions with Bob, it seems like a good idea. When I need

to adjust the worms again, I'll follow Bob's advice.

Between adjusting the tightness of the ring nut and adjusting the worm assembly, it's easy to spend an

hour or more on each axis. That's what it takes to find the best compromise between stability and ease of

motion. Don't skimp on this part of the project. Failing to properly adjust the mount can negate all the hard

work you've done to clean, smooth and re-grease it. It's well worth your time.
_1396774829.psd

_1396776388.psd

_1396774435.psd

